{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["2013年11月份数据统计"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"2013年11月份数据统计","index":0,"n_rows":27,"n_cols":5,"rows_kept":27,"merged":[[0,0,0,4],[25,0,25,2],[26,0,26,4]],"flags":["formulas_cached_only"]}
["2014年1、2月份各楼（部门）水量消耗公示表"]
["序号","用水区域","责任单位（部门）","1、2月消耗量（m³）","节水改造情况"]
[2,"文科南楼3-5层\n文科楼D区3层","中文系",286,"已完成"]
[1,"文科南楼1-2层\n文科楼北楼5层\n文科楼D区2层","教育系",690,"南楼已完成\n北楼未完成"]
[3,"文科北楼1-4层","教师教育学院",191,"未完成"]
[4,"外语南楼","外语系、社科部、大外部",925,"未完成"]
[5,"外语北楼","文化传播系、经管系、美术系",731,"未完成"]
[6,"音乐楼","音乐系",1663,"未完成"]
[7,"体育楼","体育系",996,"未完成"]
[8,"东西操场厕所","各系共用",51,"未完成"]
[9,"美术楼","美术系",990,"未完成"]
[10,"图书楼","图书馆",1102,"已完成"]
[11,"实验楼","物理系、化学系\n生物系、文化传播系",412,"未完成"]
[12,"机电楼南楼","计算机科学系\n化学与化工系\n信息中心",1230,"未完成"]
[13,"机电楼北楼","计算机科学系",1445,"未完成"]
[14,"理科南楼1-2层\n理科北楼1-2层\n理科楼B座2层","物理与信息工程系\n",191,"已完成"]
[15,"理科南楼3-5层","生命科学与工程系\n美术系",150,"已完成"]
[16,"理科北楼3-5层\n理科楼B座3层","数学系",233,"已完成"]
[17,"学生公寓11栋楼","学工处公寓管理中心",19611,"已对各楼总阀门\n做技术改造"]
[18,"东西餐厅","后勤处餐饮服务中心",1782]
[19,"校区南大门","保卫处",42]
[20,"洗车台","车管科",25]
[21,"后勤维修队","后勤处",46]
[22,"校园自备井","后勤处",436,"已启用智能定时器"]
[23," 济宁校区","继续教育学院、老干部处\n后勤处、车管科",2440,"已做节水综合治理；含\n供暖换热站循环用水"]
["合计",null,null,35382,"比去年同期，降低耗水量45612m³（约14万元）"]
["备注：\n1、此数据是以各教学楼（部门）为单位进行统计，为下一步供水实行定量管理提供参考。\n2、待教学楼卫生间三级表全部改装后，将以系部为单位实行“定量包干，超支自负，节余奖励”管理办法。"]